(Enter CAB Name Here)

PT Plan Update Requirements

- Annual Update and Coverage:

  - The plan shall be updated on an annual basis.

  - It must include the current year and the subsequent three years.

  - Update as necessary for changes in plan use and scope expansions.

- Scope of Calibration/Test Disciplines:

  - Clearly define the calibration or test disciplines.

  - Specify the particular calibrations or tests for which proficiency tests (PTs) will be conducted during the indicated four-year period.

  - Ensure the plan includes at least one representative test from each calibration or testing discipline for which the organization is accredited.

- Representative Sampling Determination:

  - The CAB shall determine the representative sampling based on the following:

    - The technologies or techniques identified on the scope of accreditation for testing laboratories (for each field accreditation held).

    - The calibration equipment or reference standards identified on the scope of accreditation for calibration laboratories (for each field accreditation held).

- Additional References and Requirements:

  - PJLA PL-1 Proficiency Testing policy.

  - If intralaboratory comparisons or repeatability studies are identified, complete form LF-81(a) and submit it along with the related CAB SOP.  This shall be submitted to PJLA Headquarters for approval by a PJLA-Technical Program Manager.

(Enter CAB Name Here)

| # | Scope Field | Scope Calibration/Test | # Year | # Year | # Year | # Year | # Source or Type (ISO/IEC 17043 PT Provider, 3rdparty, Inter laboratory, Repeatability, Intra-lab) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |

# Calibration Laboratory Example

| # | Scope Field | Scope Calibration/Test | # Year | # Year | # Year | # Year | # Source or Type (ISO/IEC 17043 PT Provider, 3rdparty, Inter laboratory, Repeatability, Intra-lab) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | # 2025 | # 2026 | # 2027 | # 2028 |  |
| 1 | Dimensional Calibration | Outside Micrometer | X |  |  |  | ISO/IEC 17043 PTP |
| 2 | Mechanical Calibration | Indirect Verification of Rockwell Hardness Tester |  | X |  |  | Inter-laboratory Comparison |
| 3 | Chemical Calibration | pH Meters |  |  | X |  | Intra-laboratory Comparison |
| 4 | Electrical Calabration | Electrical Simulation of thermocouple output |  |  |  | X | ISO/IEC 17043 PTP |

SAMPLE

# Testing Laboratory Example

| # | Scope Field | Scope Calibration/Test | # Year | # Year | # Year | # Year | # Source or Type (ISO/IEC 17043 PT Provider, 3rdparty, Inter laboratory, Repeatability, Intra-lab) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | # 2025 | # 2026 | # 2027 | # 2028 |  |
| 1 | Environmental Testing | EPA 3050B | x |  |  |  | ISO/IEC 17043 PTP |
| 2 | Mechanical Testing | US Steel Retention Test (Four Gram Method) |  | x |  |  | Inter-laboratory Comparison |
| 3 | Chemical Testing | ASTM D1121 |  |  | x |  | Intra-laboratory Comparison |
| 4 | Biological Testing | Salmonella by PCR |  |  |  | x | ISO/IEC 17043 PTP |